|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **INSTALLATION REPORT** | | | | | | | | | | |
| **Location:** | **BPCL Uran LPG Plant** | | **Job Description:** | | | | | | | | |
| **Report Date:** | **16-01-2025** | |
| **Project Name:** | **Integrated Outsourced Workforce Management System (IOWMS)** | |
| **PO No.** | **4510297410** | |
| **Service Engineer Name**  **(Godrej):** |  | |
| **A.** | **FRS DEVICES** | | | | | | | | | | |
| **Access Points** | | **Main Gate ( Delicensed Gate)** | | | | **Licensed Gate** | | | | | |
| **Location of Installation** | | **Entry (Device 1)** | **Entry (Device 2)** | **Exit (Device 1)** | **Exit (Device 2)** | **Entry (Device 1)** | **Entry (Device 2)** | **Exit (Device 1)** | **Exit (Device 2)** | **Entry (Device 1)** | **Exit (Device 1)** |
| **Make** | |  | | | |  | | | |  | |
| **Model** | |  | | | |  | | | |  | |
| **Date of Installation** | | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** |
| **Serial No.** | | **AFU130010TBDCG002369** | **AFU130010TBDCG002366** | **AFU130010TBDCG002370** | **AFU130010TBDCG002361** | **AFU130010TBDCG002362** | **AFU130010TBDCG002365** | **AFU130010TBDCG002364** | **AFU130010TBDCG002363** | **AFU130010TBDCG002367** | **AFU130010TBDCG002368** |
| **Mac Address** | | **00-02-65-23-8E-14** | **00-02-65-23-8E-11** | **00-02-65-23-8E-15** | **00-02-65-23-8E-0C** | **00-02-65-23-8E-0D** | **00-02-65-23-8E-10** | **00-02-65-23-8E-0F** | **00-02-65-23-8E-0E** | **00-02-65-23-8E-12** | **00-02-65-23-8E-13** |
| **Terminal Id** | | **26** | **28** | **27** | **29** | **32** | **34** | **33** | **35** | **30** | **31** |
| **Working Condition**  **(Working / Not Working)** | | **Working** | **Working** | **Working** | **Working** | **Working** | **Working** | **Working** | **Working** | **Working** | **Working** |
| **ADMIN Password Implementation on FRS Devices (Yes/NO)** | | **Yes** | **Yes** | **Yes** | **Yes** | **Yes** | **Yes** | **Yes** | **Yes** | **Yes** | **Yes** |
| **Total Quantity (No.)** | | **10** | | | | | | | | | |
| **B.** | **ACCESS CONTROL SYSTEM** | | | | | | | | | | |
| **Access Points** | | **Main Gate (Delicensed Gate)** | | | | **Licensed Gate** | | | | | |
| **Integration with Existing** | | **Integration** | | | | **Existing** | | | | | |
| **New Turnstile System (If** | | **Turnstile 1** | **Turnstile 2** | **Turnstile 3** | **Turnstile 4** | **Turnstile 1** | | **Turnstile 2** | | **Turnstile 3** | **Turnstile 4** |
| **Make** | |  | | | |  | | | | | |
| **Model** | | **GTT-S1** | | | |  | | | | | |
| **Serial No.** | | **TT2408005** | | **TT2408004** | |  | |  | |  |  |
| **Date of Installation** | | **15/10/2024** | **15/10/2024** | **15/10/2024** | **15/10/2024** |  | |  | |  |  |
| **Working Condition (Working / Not Working)** | | **Working** | **Working** | **Working** | **Working** |  | |  | |  |  |
| **Total Quantity (No.)** | |  | | | | | | | | | |
| **C.** | **NETWORK CONNECTIVITY** | | | | | | | | | | |
| **Access Points** | | **Main Gate (Delicensed Gate)** | | | | **Licensed Gate** | | | | | |
| **Network Connectivity** | | **Yes** | | | | **Yes** | | | | | |
| **L2Switches** | | **8 port switch with 2U Rack** | | | | **8 port switch with 2U Rack** | | | | | |
| **Make** | | **TP- Link** | | | | **TP- Link** | | | | | |
| **Model** | | **SG3210** | | | | **SG3210** | | | | | |
| **Serial No.** | | **223B453000030** | | | | **223B453000076** | | | | | |
| **Date of Installation** | |  | | | |  | | | | | |
| **Total Quantity (No.)** | |  | | | | | | | | | |
| **D.** | **IT DEVICES** | | | | | | | | | | |
| **Desktop** | | **Serial No (Monitor & CPU): 1N14230783** | | | | | **Qty.: 01** | | | | |
| **Printer** | | **Serial No.: VNC3Y03702** | | | **Qty.: 01** | **Web Cam** | **Serial No.: 2414CFA11648** | | | | **Qty.: 01** |
| **E.** | **CABLELAYING** | | | | | | | | | | |
| **CAT 6 Cable** | | **Under Proper Conduit (Yes/No)** | | | | **Yes** | | | | | |
| **Power Cable** | | **Yes** | | | | | |
| **F.** | **ID CARDS** | | | | | | | | | | |
| **Blank Cards** | | **Quantity : 100** | | | | **Lanyard** | |  | | **Quantity:** | |
| **Remarks (if any):** | |  | | | | | | | | | |
|  | | **GODREJ** | | | | **BPCL SITE** | | | | | |
| **Signature and Seal:** | |  | | | |  | | | | | |
| **Name & Designation:** | |  | | | |  | | | | | |
| **Date:** | |  | | | |  | | | | | |